|  |  |  | National Institute of Technology Meghalaya An Institute of National Importance |  |  |  |  |  |  |  |  |  | CURRICULUM |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Programme |  |  | Master of Technology (Structural Engineering) |  |  |  |  | Year of Regulation |  |  |  |  | 2018 |  |  |
| Department |  |  | Civil Engineering |  |  |  |  | Semester |  |  |  |  | I |  |  |
| Course Code |  | Course Name |  | Pre-requisite |  | Credit Structure |  |  |  | Marks Distribution |  |  |  |  |  |
|  |  |  |  |  |  | L | T | P | C | INT |  | MID | END |  | Total |
| CE 557 |  | Earthquake Engineering |  | NIL |  | 3 | 0 | 0 | 3 | 50 |  | 50 | 100 |  | 200 |
| Course Objectives |  | - To impart knowledge about Earthquake Engineering. - To understand the mechanism of earthquake wave propagation. - To introduce the fundamental concepts relevant to application of structural dynamics in Earthquake Engineering - To enable the students understand the factors that make the structures Earthquake Resistant - To explain about various seismic protection methods |  |  | Course Outcomes |  | CO1 | Able to understand the basics of Earthquake Engineering |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO2 | Able to develop the equations of motion for vibratory systems and solving them for the free and forced response |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO3 | Able to understand the earthquake wave generation and its propagation mechanism |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO4 | Able to Interpret the dynamic analysis results for design of civil engineering structures. |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO5 | knowledge on earthquake measuring scales and instruments |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO6 | Able to Identify different method of Earthquake analysis |  |  |  |  |  |  |  |
| SYLLABUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Content |  |  |  |  |  |  |  |  |  | Hours |  |  | COs |  |
| I | Introduction Importance of earthquake engineering, Causes, Magnitude and Intensity, Ground Motions, plate tectonics, faults, earthquake generation mechanism, terminologies, Sensors. |  |  |  |  |  |  |  |  |  | 04 |  |  | CO1 |  |
| II | Earthquake propagation Seismic waves in earthquake shaking, body waves and surface waves, attenuation of wave amplitudes, local site effects, Indian seismicity, seismic zones of India |  |  |  |  |  |  |  |  |  | 04 |  |  | CO1, CO2 |  |
| III | Measurement of earthquakes Intensity scales, seismographs and seismograms, magnitude scales, seismic moment and moment magnitude, accelerographs and accelerograms |  |  |  |  |  |  |  |  |  | 04 |  |  | CO3 |  |
| IV | Linear Earthquake analysis Idealization of structures, modal, response spectrum analysis, capacity-based design, time history analysis |  |  |  |  |  |  |  |  |  | 04 |  |  | CO4 |  |
| V | Nonlinear Earthquake analysis Force‐deformation relationships, equation of motion, ductility, pushover analysis |  |  |  |  |  |  |  |  |  | 05 |  |  | CO4 |  |
| VI | Earthquake resistance design Identification of seismic damages in reinforced concrete building, structural irregularity effect on the performance of RC buildings, seismo-resistant building architecture, ductility considerations in earthquake resistant design of reinforced concrete building., reinforced concrete frame, shear wall, codal and detailing provisions w.r.t IS:1893 and IS:13920. |  |  |  |  |  |  |  |  |  | 10 |  |  | CO5 |  |
| VII | Seismic protection methods Base isolation, energy dissipating devices, codal provisions |  |  |  |  |  |  |  |  |  | 05 |  |  | CO6 |  |
| Total Hours |  |  |  |  |  |  |  |  |  |  | 36 |  |  |  |  |
| Essential Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - 1. Chopra, A. K. “Dynamics of structures: Theory and applications to earthquake engineering”, PHI Ltd., 4th edition 2011. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - 2. Agarwal, P,, & Shrikhande, M., “Earthquake resistant design of structures” Prentice-Hall, New Delhi. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - 3. Duggal, S.K., “Earthquake Resistant Design of Structures”, Oxford University Press |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Dowrick, D.J., “Earthquake resistant design: for engineers and architects”, John Wiley and sons. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Supplementary Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - 1. Rao, K. “ Vibration analysis and foundation dynamics”, Wheeler, 1st edition 1998. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - 2. Wilson, E. L. “Static and Dynamic Analysis of Structures”, Computers and Structures, Inc., Berkeley, CA, 4th edition 2004. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |