|  |  |  | National Institute of Technology Meghalaya An Institute of National Importance |  |  |  |  |  |  |  |  |  | CURRICULUM |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Programme |  |  | Master of Technology (Structural Engineering) |  |  |  |  | Year of Regulation |  |  |  |  | 2018 |  |  |
| Department |  |  | Civil Engineering |  |  |  |  | Semester |  |  |  |  | II |  |  |
| Course Code |  | Course Name |  | Pre-requisite |  | Credit Structure |  |  |  | Marks Distribution |  |  |  |  |  |
|  |  |  |  |  |  | L | T | P | C | INT |  | MID | END |  | Total |
| CE 558 |  | REHABILITATION AND RETROFITTING OF CONCRETE STRUCTURES |  | NIL |  | 3 | 0 | 0 | 3 | 50 |  | 50 | 100 |  | 200 |
| Course Objectives |  | To learn various distress and damages to concrete structures and understand the importance of rehabilitation/repair and retrofitting of concrete structures. |  |  | Course Outcomes |  | CO1 | Having knowledge on various distress and damages of concrete structures. |  |  |  |  |  |  |  |
|  |  | To provide some knowledge on the various types and properties of repair materials assess the damage to structures using various tests. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO2 | Having knowledge on the various types of repairing and strengthening materials |  |  |  |  |  |  |  |
|  |  | To develop understanding on the importance and methods of substrate preparation and learn various repair techniques of damaged structures, corroded structures. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO3 | Assessing damage to structures and various repair techniques |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO4 | Ability in assessing damages in concrete structures and respective repair techniques |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | CO5 | Ability to identify different methodologies of repairs and strengthening in structures |  |  |  |  |  |  |  |
| SYLLABUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Content |  |  |  |  |  |  |  |  |  | Hours |  |  | COs |  |
| I | Introduction Maintenance, rehabilitation, repair, retrofit and strengthening, need for rehabilitation of structures, cracks in R.C. buildings causes and effects |  |  |  |  |  |  |  |  |  | 02 |  |  | CO1 |  |
| II | Repair materials Various repair materials, criteria for material selection, methodology of selection, health and safety precautions for handling and applications of repair materials. |  |  |  |  |  |  |  |  |  | 04 |  |  | CO2 |  |
| III | Special mortars and grouting of concretes Polymer concrete, polymer grouts, epoxy bonding agents, protective coatings for concrete and steel. |  |  |  |  |  |  |  |  |  | 04 |  |  | CO2 |  |
| IV | Damage diagnosis and assessment Visual inspection, non-destructive testing using rebound hammer, ultra-sonic pulse velocity, semi destructive testing, probe test, pull out test, chloride penetration test, carbonation, carbonation depth testing, corrosion activity measurement. |  |  |  |  |  |  |  |  |  | 06 |  |  | CO3 |  |
| V | Crack repair Various methods of crack repair, grouting, routing and sealing, stitching, dry packing, autogenous healing, overlays, repair to active cracks, repair to dormant cracks. |  |  |  |  |  |  |  |  |  | 06 |  |  | CO2 |  |
| VI | Jacketing techniques Column jacketing, beam jacketing, beam-column joint jacketing, reinforced concrete jacketing, steel jacketing, FRP jacketing. |  |  |  |  |  |  |  |  |  | 06 |  |  | CO4, CO5 |  |
| VII | Strengthening Beam shear strengthening, Flexural strengthening, column strengthening, beam-column joint strengthening. |  |  |  |  |  |  |  |  |  | 06 |  |  | CO4, CO5 |  |
| Total Hours |  |  |  |  |  |  |  |  |  |  | 36 |  |  |  |  |
| Essential Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Mailvaganam, N.P, “Repair and protection of concrete structures”, CRC Press,1991. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Emmons, P.H., “Concrete repair and maintenance Illustrated”, Galgotia publications Pvt. Ltd., 2001. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Agarwal, P., & Shrikhande, M., “Earthquake resistant design of structures” Prentice-Hall, New Delhi. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supplementary Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Handbook on repair and rehabilitation of RCC buildings, CPWD, Government of India. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Chakrabarti, A., “Handbook on seismic retrofit of buildings”, Narosa Publishing House, 2010. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. IS 15988: 2013 Seismic Evaluation and Strengthening of Existing Reinforced Concrete Buildings - Guidelines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Roy, S.C.B, “Practical Problems and Solutions in Civil Engineering Works”, Nabhi Publication, New Delhi |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |